CONFINED SPACE ENTRY PERMIT

Construction Site Safety Documentation

⚠ WARNING: This permit must be completed and authorized BEFORE any entry into a confined space. All atmospheric testing must be conducted and documented. This permit is valid for ONE SHIFT ONLY.

SECTION 1: GENERAL INFORMATION

| Date: |  | Permit Number: |  |
| --- | --- | --- | --- |
| Project Name: |  |  |  |
| Site Location: |  |  |  |
| Space Description: |  |  |  |
| Purpose of Entry: |  |  |  |
| Entry Start Time: |  | Entry End Time: |  |

SECTION 2: HAZARD IDENTIFICATION

Check all hazards that are present or may be present:

| ATMOSPHERIC HAZARDS | PHYSICAL HAZARDS |
| --- | --- |
| ☐ Oxygen deficiency (<19.5%) ☐ Oxygen enrichment (>23.5%) ☐ Flammable gases/vapors ☐ Toxic gases (H₂S, CO, etc.) ☐ Dust/particulates | ☐ Engulfment hazard ☐ Entrapment hazard ☐ Fall hazard (>4 feet) ☐ Electrical hazard ☐ Moving mechanical parts |
| ENVIRONMENTAL HAZARDS | OTHER HAZARDS |
| ☐ Extreme temperature ☐ Noise hazard ☐ Poor visibility/lighting | ☐ Chemical exposure ☐ Biological hazards ☐ Other: ________________ |

SECTION 3: ATMOSPHERIC TESTING

Testing must be performed before entry and continuously during occupancy.

| Test Parameter | Acceptable Range | Pre-Entry | Test 1 | Test 2 | Test 3 |
| --- | --- | --- | --- | --- | --- |
| Oxygen (O₂) | 19.5% - 23.5% |  |  |  |  |
| LEL (Combustible) | <10% LEL |  |  |  |  |
| Carbon Monoxide (CO) | <25 ppm |  |  |  |  |
| Hydrogen Sulfide (H₂S) | <10 ppm |  |  |  |  |
| Other: ____________ |  |  |  |  |  |
| Time of Test: |  |  |  |  |  |
| Tester Initials: |  |  |  |  |  |

| Monitoring Equipment Model: |  |
| --- | --- |
| Calibration Date: |  |

SECTION 4: CONTROL MEASURES & PPE REQUIREMENTS

| ISOLATION/LOCKOUT REQUIRED | PPE REQUIRED |
| --- | --- |
| ☐ Electrical lockout/tagout ☐ Mechanical lockout/tagout ☐ Line blanking/blinding ☐ Double block and bleed ☐ Other: ________________ | ☐ Hard hat ☐ Safety glasses/goggles ☐ Full body harness with retrieval line ☐ Respiratory protection: ________ ☐ Protective clothing ☐ Gloves (type): ________ |
| VENTILATION | RESCUE EQUIPMENT |
| ☐ Natural ventilation adequate ☐ Mechanical ventilation required ☐ Continuous forced air ventilation | ☐ Tripod/davit system ☐ Mechanical retrieval device ☐ Rescue SCBA available ☐ First aid kit on site |

SECTION 5: ENTRY TEAM PERSONNEL

| Role | Name (Print) | Signature | Trained? |
| --- | --- | --- | --- |
| Entry Supervisor: |  |  | ☐ Yes |
| Attendant: |  |  | ☐ Yes |
| Entrant #1: |  |  | ☐ Yes |
| Entrant #2: |  |  | ☐ Yes |
| Entrant #3: |  |  | ☐ Yes |
| Rescue Team Contact: |  | Phone: |  |

SECTION 6: EMERGENCY PROCEDURES

In case of emergency: 1. Alert the attendant and evacuate the space immediately 2. DO NOT enter the space to attempt rescue without proper equipment and training 3. Call 911 and on-site emergency contacts 4. Begin non-entry rescue using retrieval equipment if safe to do so

| Site Emergency Phone: | Nearest Hospital: | Hospital Phone: |
| --- | --- | --- |

SECTION 7: PERMIT AUTHORIZATION

I certify that all required precautions have been taken, atmospheric testing has been completed with acceptable results, all personnel have been briefed on hazards and emergency procedures, and this permit is authorized for confined space entry.

| Entry Supervisor Signature: |  |
| --- | --- |
| Print Name: |  |
| Date/Time Authorized: |  |

SECTION 8: PERMIT CANCELLATION

| Work Completed: | ☐ Yes ☐ No (explain below) |
| --- | --- |
| Space Evacuated: | ☐ Yes Time: ________ |
| Equipment Removed: | ☐ Yes |
| Entry Point Secured: | ☐ Yes |

Notes/Reason for Cancellation:

| Cancelled By (Signature): |  |
| --- | --- |
| Date/Time Cancelled: |  |

This permit template is provided by First Underwriters Insurance Brokers as a safety resource. Ensure compliance with OSHA 29 CFR 1926.1211-1926.1213 and all applicable state/local regulations.